**************************************************************************

Referee: Alejandro Burlon

Author: M. Estevam and C. R. Appoloni

Title:In vivo evaluation of Fe in human skin employing X-Ray Fluorescence Methodology (XRF)

Type of presentation:  Plenary       ( )

Oral          ( )

Poster        (X)

1. Please summarize your assessment of the paper:

YES   MAYBE   NO

Is the paper scientifically sound and not misleading?   (x)    ( )   ( )

Is the paper well organized and clearly written?        (x)    ( )   ( )

2.  Please evaluate quality of Research and Presentation:

(  ) Excellent (  )

(  ) Good      (  )

( x ) Average   (x )

(  ) Marginal  (  )

(  ) Poor      (  )

3.  Recommendation -

(  ) Publish without change (please give reasons in report).

(  ) Publish after authors have considered the optional revisions mentioned

in the report.

( x ) Publish after authors have made the revisions mentioned in the report.

(I do not need to see the manuscript again.)

(  ) Revisions are necessary. Return to me on resubmittal.

(  ) Do not publish; see report.

************************************************************************

begin_report (use as much space as is needed):

These are my comments :

- In the abstract:1) The first reference appears labeled as [2].

2) The sentence “the main form of measuring...through magnetic...” seems to sound better replacing “through” by “by means of”.

3) In the last sentence, references 1, 2 and 3 are mentioned. But the reference 3 does not appear in the previous text.

- In the introduction: 1) In the sentence : “These include, the atomic number..counts detected per unit dose”, the phrase “the levels in tissue” appears repeated. Moreover, in the phrase “the incident and emerging beams are attenuated” some connecting words seems missing.

- In XRF Methodology: In the 3th paragraph there appears “elements´identity” instead of “element´s identity”.

- In Levels of Fe : In Figure 1 no references appear in the x-axis so it is impossible to know what each point is representing (in the case of normal tissue). On the other hand, could the author add a few lines about the application of this technique?. For instance, how were the points in the graph measured (if possible given the allowed space)

- Notice that the general form of the pdf file does not match with the journal´s recommended form.

Thank you.

end_report

************************************************************************